Lesson Plan

| Name of Faculty | Rajiv Kumar |
| --- | --- |
| Discipline | Electrical Engineering |
| Semester | 3rd |
| Subject | Estimating and Costing in Electrical Engineering |
| Work load (Theory + Practical) Per Week | [04+02] |

| Week | Day | Theory Topic/ Assignment/ Test | Practical Day | Topic |
| --- | --- | --- | --- | --- |
| 1st | 1 | 1 Introduction | Day1 | Framing of Tender and reply to tender to get job/project |
|  | 2 | Purpose of estimating and costing |  |  |
|  | 3 | Performa for making estimates, Preparation of materials schedule, Costing, price list |  |  |
| 2nd | 1 | Preparation of tender document, Net price list | Day1 | Identification of wiring for different applications |
|  | 2 | Market survey, Overhead charges |  |  |
|  | 3 | Labour charges, EPM and FPM, Contingency, Profit |  |  |
| 3rd | 1 | Purchase system, Enquiries, Comparative statements, Payment of bills, orders for supply | Day1 | Practical Quiz No.1/ Revision and file checking |
|  | 2 | Assignment /revision of unit 1st |  |  |
|  | 3 | Class Test (1st unit) |  |  |
| 4th | 1 | Unit-2: Types of wiring: Cleat, batten | Day1 | Prepare an estimate for a Two room residential building as per given plan |
|  | 2 | Casing capping and conduit wiring, Comparison of different wiring systems |  |  |
|  | 3 | Design of wiring schemes for particular situation of domestic and industrial installation. |  |  |
| 5th | 1 | Wiring accessories used for Electrical Installation Use of protective devices i.e. MCB | Day1 | Practical Quiz No.2/ Revision and file checking |
|  | 2 | ELCB ,Use of wire-gauge and table |  |  |
|  | 3 | Revision/ queries of unit-2 |  |  |
| 6th | 1 | Tentative 1stsessional test | Day1 | Prepare an estimate for service connection for residential building having connected load -kW |
|  | 2 | Evaluation of sessional marks etc. Display and analysis of sessional marks |  |  |
|  | 3 | Unit-3 Domestic installations , Electrical layout of Domestic Installation |  |  |
| 7th | 1 | Standard practice as per IS and IE rules, Planning of circuits, sub circuits | Day1 | Practical Quiz No.3/ Revision and file checking |
|  | 2 | Industrial installations Position of different accessories |  |  |
|  | 3 | Preparing estimates including cost as per , schedule rate pattern and actual market rate |  |  |
| 8th | 1 | Industrial Installation : Planning of installation for single phase, Motors of different rating | Day1 | Mid-term Viva—voce and practical assessment |
|  | 2 | Designing for single phase motors of different ratings |  |  |
|  | 3 | Electrical circuit diagram for Industrial installations, Starters for Industrial installations |  |  |
| 9th | 1 | Preparation of list of materials for Industrial installations | Day1 | Visit a nearby substation and list the components with diagram |
|  | 2 | Estimating and costing exercises on workshop with singe-phase motor load |  |  |
|  | 3 | Estimating and costing exercises on workshop with 3-phase motor load and the light load |  |  |
| 10th | 1 | Service line connections estimate for domestic up to 10 KW from pole to energy meter. | Day1 | Assignments and quiz/class tests |
|  | 2 | Service line connections estimate for Industrial loads up to 20 KW over-head & underground connection from pole to energy meter |  |  |
|  | 3 | Class test /assignment 3rd unit |  |  |
| 11th | 1 | Problem solving/checking | Day1 | Laboratory and practical work drawing single and wiring diagram |
|  | 2 | Unit 4th Estimating Materials Required Transmission and distribution lines overhead planning and designing of lines with different fixtures based on unit cost calculations |  |  |
|  | 3 | Types of substations, substation schemes and components |  |  |
| 12th | 1 | Estimate of 11/0.4 KV pole mounted substation up to 200 KVA rating | Day1 | Viva—voce/class test |
|  | 2 | Methods of earthling of substations |  |  |
|  | 3 | Key Diagram of 66 KV/11KV |  |  |
| 13th | 1 | Key Diagram of 11 KV/0.4 KV Substation | Day1 | Practical Quiz / Revision and file checking |
|  | 2 | Single line diagram, layout sketching of outdoor, indoor 11kV sub-station |  |  |
|  | 3 | Single line diagram, layout sketching of outdoor, indoor 33kV substation |  |  |
| 14th | 1 | Class test /assignment 4th unit | Day1 | Practical Quiz / Revision and file checking |
|  | 2 | Problem solving/checking |  |  |
|  | 3 | Unit-5: Preparation of Tender Documents |  |  |
| 15th | 1 | Tender – constituents finalization, specimen tender | Day1 | Internal practical evaluation |
|  | 2 | HSBTE old Question paper solution |  |  |
|  | 3 | HSBTE old Question paper solution |  |  |