| Lesson plan |  |  |  |
| --- | --- | --- | --- |
| Name of Faculty |  |  | Sh. Rajiv Kumar |
| Discipline |  |  | Electrical Engineering |
| Semester |  |  | 6th |
| Subject |  |  | Electrical Energy Conservation and Management |
| Lesson Plan Duration |  |  | 15 week, Theory: 05 |
| Week | Theory |  |  |
|  | Lecture Day | Topic ( Including Assignment/ Test) |  |
| 1st | Day1 | 1 Lighting System |  |
|  | Day2 | 1.1. Basic definitions- Lux, lumen and illumination space to height ratio |  |
|  | Day3 | 1.2Types of different lamps and their features |  |
|  | Day4 | 1.3 Energy efficient practices in lighting |  |
|  | Day5 | 1.4.Tips for energy saving in building - New Building, Existing Building |  |
| 2nd | Day1 | 1.5Laws of Illumination |  |
|  | Day2 | 1.6 Calculation of illumination at different points, Main requirements for proper lighting |  |
|  | Day3 | 1.7Macro level approach at design stage |  |
|  | Day4 | Revision/ Assignment |  |
|  | Day5 | 2 Energy Conservation and EC Act 2001 |  |
| 3rd | Day1 | Introduction to energy management, energy conservation, energy efficiency and its need |  |
|  | Day2 | Salient features of Energy Conservation Act 2001 & |  |
|  | Day3 | The Energy Conservation (Amendment) Act, 2010 and its importance |  |
|  | Day4 | Standards and Labeling - Concept of star rating and its importance, Types of product available for star rating |  |
|  | Day5 | Revision/ Assignment |  |
| 4th | Day1 | Class Test |  |
|  | Day2 | 3 Energy Audit |  |
|  | Day3 | Types and methodology |  |
|  | Day4 | Energy auditing reporting format |  |
|  | Day5 | Energy audit instruments |  |
| 5th | Day1 | Revision/ Assignment |  |
|  | Day2 | 4 Electrical Supply System and Motors |  |
|  | Day3 | Types of electrical supply system |  |
|  | Day4 | Single line diagram |  |
|  | Day5 | Transformer loading |  |
| 6th | Day1 | Tips for energy savings in transformers |  |
|  | Day2 | Motor Loading |  |
|  | Day3 | Variation in efficiency and power factor with loading |  |
|  | Day4 | Tips for energy savings in motors |  |
|  | Day5 | Need for energy efficient motors |  |
| 7th | Day1 | Initial cost versus like cycle cost |  |
|  | Day2 | Cost analysis on life cycle basis |  |
|  | Day3 | Various constructional features of EEMs |  |
|  | Day4 | EEM as compared to standard motors |  |
|  | Day5 | Revision/ Assignment |  |
| 8th | Day1 | 5 Energy Efficiency in Electrical Utilities |  |
|  | Day2 | Understanding Electricity Bill , Tariff structure |  |
|  | Day3 | Components of power (kW, kVA and kVAR) and power factor |  |
|  | Day4 | Concept of sanctioned load, maximum demand, contract demand and monthly minimum charges (MMC) |  |

|  | Day5 | 5.2 Pumps; Introduction to pump and its application, Efficient pumping system operation, |
| --- | --- | --- |
| 9th | Day1 | Energy efficiency in agriculture pumps, Tips for energy saving in pumps, |
|  | Day2 | 5.3 Compressed Air System Types of air compressor and its applications, |
|  | Day3 | Leakage test, Energy saving opportunities in compressors |
|  | Day4 | 5.4 Energy Conservation in HVAC and Refrigeration System; Introduction |
|  | Day5 | Concept of Energy Efficiency Ratio (EER) |
| 10th | Day1 | Energy saving opportunities in Heating, Ventilation and |
|  | Day2 | Air-conditioning (HVAC) and Refrigeration Systems |
|  | Day3 | 5.5 Thermal Basics: Types of fuels, Thermal energy |
|  | Day4 | Energy contents in fuel, Energy Units and |
|  | Day5 | its conversion in terms of metric ton of oil equivalent (MTOE) |
| 11th | Day1 | Revision/ Assignment |
|  | Day2 | Class Test |
|  | Day3 | 6 General Energy Saving Tips; Lighting System, Room Air Conditioners |
|  | Day4 | Refrigerators, Water Heater, Computers, |
|  | Day5 | Fans, Heaters |
| 12th | Day1 | Blowers and Washing Machines |
|  | Day2 | Water Pumps |
|  | Day3 | Kitchens, Transport |
|  | Day4 | Revision/ Assignment |
|  | Day5 | Class Test |
| 13th | Day1 | 7 Energy Conservation Building Code |
|  | Day2 | Haryana ECBC and its salient features including thermal behavior of buildings |
|  | Day3 | ECBC Guidelines on Building Envelope |
|  | Day4 | ECBC Prescriptive Requirements for Building Envelope |
|  | Day5 | ECBC Guidelines on Heating, Ventilation and Air Conditioning |
| 14th | Day1 | ECBC Guidelines on Service Hot Water and Pumping |
|  | Day2 | ECBC Guidelines on Lighting |
|  | Day3 | ECBC Guidelines on Electrical Power |
|  | Day4 | ECBC Guidelines on Star Labelling and Minimum Star rating |
|  | Day5 | Revision/ Assignment |
| 15th | Day1 | Class Test |
|  | Day2 | Revision/Review/Test of old HSBTE Papers |
|  | Day3 | Revision/Review/Test of old HSBTE Papers |
|  | Day4 | Revision/Review/Test of old HSBTE Papers |
|  | Day5 | Revision/Review/Test of old HSBTE Papers |