# Lesson Plan

Name of the Faculty : Er. Rajiv Kumar Discipline : Electrical Engineering Semester : 4th

Semester Subject : ELECTRICAL ENGINEERING DESIGN AND DRAWING - II

| Practical |  |
| --- | --- |
| Practical Day | Topic |
| 1 | Contractor Control Circuits - Design of circuit drawing of schematic diagram and power wiring diagram of following circuits, specification of contactors |
| 2 | DOL starting of 3-phase induction motor |
| 3 | 3-phase induction motor getting supply from selected feeder |
| 4 | Forwarding/reversing of a 3-phase induction motor |
| 5 | Two speed control of 3-phase induction motor |
| 6 | Limit switch control of a 3-phase induction motor |
| 7 | Sequential operating of two motors using time delay relay |
| 8 | Manually generated star delta starter for 3-phase induction motor |
| 9 | Automatic star delta starter for 3-phase Induction Motor |
| 10 | Earthing - Concept and purpose of earthing |
| 11 | Different types of earthing, drawings of plate and pipe earthing |
| 12 | Procedure of earthing, test of materials required and costing |
| 13 | Relevant IS specifications of earth electrode for earthing a transformer, a high building |
| 14 | Earthing layout of distribution transformer |
| 15 | Substation earthing layout and earthing materials |
| 16 | Key diagram of 11kV, 33kV, 66kV, 132 kV sub-stations |
| 17 | CAD Software |
| 18 | CAD Software in Electrical Drawing |
| 19 | Schematic Diagram of lighting system of conference room Circuits using timers using CAD and , Drawing sheets. |
| 20 | Theatre Circuits using timers using CAD and , Drawing sheets. |
| 21 | Sports stadium indoor Circuits using timers using CAD and , Drawing sheets. |
| 22 | Sports stadium outdoor Circuits using timers using CAD and , Drawing sheets |