| Lesson Plan |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Name of Faculty |  |  | Sh. Rajiv Kumar |  |  |
| Discipline |  |  | Electrical Engineering |  |  |
| Semester |  |  | 4th |  |  |
| Subject |  |  | Electrical Machine-I |  |  |
| Lesson Plan Duration |  |  | 15 Week (From Jan2020 to April 2020) Theory :04, Practical:02 |  |  |
| Week | Theory |  |  | Practical |  |
|  | Lecture Day | Topic ( Including Assignment/ Test) |  | Practical day | Topic |
| 1st | Day1 | 1:Introduction to Electrical Machines |  | Day1 | To measure the angular displacement of rotor of the three phase synchronous machine with respect to the stator on application of DC to the field winding and simultaneously to each phase-winding in sequence |
|  | Day 2 | Definition of motor and generator |  |  |  |
|  | Day 3 | Torque development due to alignment of two fields and the concept of torque angle |  |  |  |
|  | Day 4 | Electro-magnetically induced emf |  |  |  |
| 2nd | Day 1 | Elementary concept of an electrical machine |  | Day1 |  |
|  | Day 2 | Comparison of generator and motor |  |  | Speed control of DC shunt motor (i) Armature control method |
|  | Day 3 | Generalised theory of electrical machines |  |  |  |
|  | Day 4 | Revision/Assignment Checking |  |  |  |
| 3rd | Day 1 | Class test |  | Day1 | (ii) Field control method |
|  | Day 2 | 2: Introduction to DC Machines |  |  |  |
|  | Day 3 | Main constructional features, Types of armature winding |  |  |  |
|  | Day 4 | Function of the commutator for motoring and generation action |  |  |  |
| 4th | Day 1 | Factors determining induced emf |  | Day1 | Practical Quiz No.1/ Revision and file checking |
|  | Day 2 | Factors determining the electromagnetic torque |  |  |  |
|  | Day 3 | Various types of DC generators |  |  |  |
|  | Day 4 | Significance of back e.m.f., the relation between back emf and Terminal voltage |  |  |  |
| 5th | Day 1 | Armature Reaction |  | Day1 | Study of DC series motor with starter(to operate the motor on no load ) |
|  | Day 2 | Methods to improve commutation |  |  |  |
|  | Day 3 | Performance and characteristics of different types of DC motors |  |  |  |
|  | Day 4 | Speed control of dc shunt/series motors |  |  |  |
| 6th | Day 1 | Need of starter, three point dc shunt motor starter and |  | Day1 | Determine efficiency of DC motor by Swinburne’s Test at (i) rated capacity, half full load |
|  | Day 2 | 4 point starter, Electric Braking |  |  |  |
|  | Day 3 | Applications of DC motors |  |  |  |
|  | Day 4 | Faults in dc machines and their retrospective |  |  |  |
| 7th | Day 1 | Losses in a DC machine |  | Day1 | To perform open circuit and short circuit test of transformer for determining: equivalent circuit , the regulation and efficiency |
|  | Day 2 | Determination of losses by Swinburne’s test |  |  |  |
|  | Day 3 | Rating and Specifications of DC machines |  |  |  |
|  | Day 4 | Revision/Assignment Checking |  |  |  |
| 8th | Day 1 | Class test |  | Day1 | Practical Quiz No.1/ Revision and file checking |
|  | Day 2 | 3: Introduction, Single Phase Transformer |  |  |  |
|  | Day 3 | Constructional features of a transformer and parts of transformer |  |  |  |
|  | Day 4 | Working principle of a transformer |  |  |  |
| 9th | Day 1 | EMF equation |  | Day1 | To find the efficiency and regulation of single phase |
|  | Day 2 | Transformer on no-load and its phasor |  |  |  |

|  |  | diagram |  | transformer by actually loading it |
| --- | --- | --- | --- | --- |
|  | Day 3 | Transformer – neglecting voltage drop in the windings – |  |  |
|  | Day 4 | Ampere turn balance – its phasor diagram |  |  |
| 10th | Day 1 | Mutual and leakage fluxes, leakage reactance | Day1 | Checking the polarity of the windings of a three phase transformer and connecting the windings in various configurations |
|  | Day 2 | Transformer on load, voltage drops and its phasor diagram |  |  |
|  | Day 3 | Equivalent circuit diagram |  |  |
|  | Day 4 | Relation between induced emf and terminal voltage |  |  |
| 11th | Day 1 | voltage regulation of a transformer- mathematical relation | Day1 | Finding the voltage and current relationships of primary and secondary of a three phase transformer under balanced load in various configuration conditions such as Star-Star, Star- delta. |
|  | Day 2 | Losses in a transformer |  |  |
|  | Day 3 | Open circuit and |  |  |
|  | Day 4 | Short circuit test. |  |  |
| 12th | Day 1 | Calculation of efficiency, condition for maximum efficiency-maintenance of Transformer, scheduled Maintenance |  |  |
|  | Day 2 | Auto transformer construction, working and applications | Day1 | Delta-star Delta – Delta configuring conditions |
|  | Day 3 | Different types of transformers including dry type transformer. |  |  |
|  | Day 4 | Rating and Specifications of single phase transformer |  |  |
| 13th | Day 1 | Revision/Assignment Checking | Day1 | Practical Quiz No.1/ Revision and file checking |
|  | Day 2 | 4: Three Phase Transformer |  |  |
|  | Day 3 | Construction of three phase transformers and accessories of transformers such as Conservator, |  |  |
|  | Day 4 | breather, Buchholtz Relay, Tap Changer (off load and on load) (Brief idea) |  |  |
| 14th | Day 1 | Types of three phase transformer i.e. delta- delta, delta-star, star-delta and star-star | Day1 | Viva-voice/Practice of experiment |
|  | Day 2 | Star delta connections (relationship between phase and line voltage, phase and line current) |  |  |
|  | Day 3 | Conditions for parallel operation (only conditions are to be studied) |  |  |
|  | Day 4 | On load tap changer |  |  |
| 15th | Day 1 | Difference between power and distribution transformer | Day1 | Revision and checking |
|  | Day 2 | Cooling of transformer |  |  |
|  | Day 3 | Rating and Specifications of three phase transformers |  |  |
|  | Day 4 | Revision/Assignment Checking |  |  |