Lesson plan

| Name of Faculty | Satyender |
| --- | --- |
| Discipline | Electrical Engineering |
| Semester | 5th |
| Subject | Electrical Machines-II |
| Work load [Theory + Practical] Per Week | [04+02] |

| Week | Day | Theory Topic/ Assignment/ Test | Practical Day | Practical |
| --- | --- | --- | --- | --- |
| 1st | 1 | Unit1: Introduction to Induction Motors | Day1 | Determination of efficiency by (a) no load test and blocked rotor test on an induction motor |
|  | 2 | Constructional features of squirrel cage and slip ring 3-phase induction Motors |  |  |
|  | 3 | Principle of operation, slip and its significance |  |  |
|  | 4 | Locking of rotor and stator fields |  |  |
| 2nd | 1 | Rotor resistance, inductance | Day1 | (b) direct loading of an induction motor (refer BIS code) |
|  | 2 | Emf Equation and current relations |  |  |
|  | 3 | Relationship between copper loss and motor slip |  |  |
|  | 4 | Power flow diagram of an induction motor |  |  |
| 3rd | 1 | Factors determining the torque, Torque-slip curve, stable and unstable zones | Day1 | Revision/ file checking |
|  | 2 | Effect of rotor resistance upon the torque slip relationship |  |  |
|  | 3 | Double cage rotor motor and its applications |  |  |
|  | 4 | Starting of 3-phase induction motors, DOL |  |  |
| 4th | 1 | Star-delta, auto transformer starting | Day1 | Determination of effect of rotor resistance on torque speed curve of an induction motor |
|  | 2 | Causes of low power factor of induction motors |  |  |
|  | 3 | Testing of 3-phase induction motor on no load |  |  |
|  | 4 | And blocked rotor test and to find efficiency |  |  |
| 5th | 1 | Speed control of induction motor | Day1 | Observe the performance of a ceiling fan (I-) induction motor) without capacitor |
|  | 2 | Harmonics and its effects |  |  |
|  | 3 | cogging and crawling in Induction Motors |  |  |
|  | 4 | Revision of important topics |  |  |
| 6th | 1 | Assignment / Class test | Day1 | Revision/ file checking |
|  | 2 | Problem solution/ Class Test check |  |  |
|  | 3 | Unit2: Introduction |  |  |
|  | 4 | Single phase induction motors |  |  |
| 7th | 1 | Construction characteristics and applications | Day1 | To plot relationship between no load terminal voltage and excitation current in a synchronous generator at constant speed |
|  | 2 | Nature of field produced in single phase induction motor |  |  |
|  | 3 | Split phase induction motors |  |  |
|  | 4 | Capacitors start and run |  |  |
| 8th | 1 | Shaded pole, Reluctance start motor | Day1 | Revision/ file checking |
|  | 2 | Alternating current series motor and universal motors |  |  |
|  | 3 | 1-phase synchronous motor Reluctance type |  |  |
|  | 4 | Hysteresis motor |  |  |
| 9th | 1 | Revision of important topics | Day1 | Determination of the relationship between the voltage and load current of an alternator, keeping excitation and speed constant |
|  | 2 | Assignment / Class test |  |  |
|  | 3 | Problem solution/ test check |  |  |
|  | 4 | Unit3: Introduction Synchronous Machines |  |  |
| 10th | 1 | Constructional features of synchronous machine | Day1 | Revision/ file checking |
|  | 2 | Generation of three phase emf |  |  |
|  | 3 | Production of rotating magnetic field in a three phase winding |  |  |
|  | 4 | Concept of distribution and coil span factor |  |  |
| 11th | 1 | Drive Emf equation, synchronous speed | Day1 | Determination of the regulation and efficiency of alternator from the open circuit and short circuit test |
|  | 2 | Armature reaction at unity, lag and lead power factor |  |  |
|  | 3 | Voltage regulation using synchronous impedance method |  |  |
|  | 4 | Need and necessary conditions of parallel operation of alternators |  |  |
| 12th | 1 | Operation of synchronous machine as a motor –its starting methods |  |  |
|  | 2 | Effect of change in excitation of a synchronous motor | Day1 | Revision/ file checking |
|  | 3 | Concept and Cause of hunting and its prevention |  |  |
|  | 4 | Rating and cooling of synchronous machines |  |  |
| 13th | 1 | Applications of synchronous machines (as an alternator, as a synchronous condenser) | Day1 | Determination of the effect of variation of excitation on performance of a synchronous motor |
|  | 2 | Revision of important topics |  |  |
|  | 3 | Assignment / Class test |  |  |
|  | 4 | Problem solution/ test check |  |  |
| 14th | 1 | Unit4:Special Purpose Machines | Day1 | Quiz /viva-voice related to electrical machine |
|  | 2 | Construction and working principle of linear induction motor |  |  |
|  | 3 | Stepper motor |  |  |
|  | 4 | Servomotor |  |  |
| 15th | 1 | Submersible motor | Day1 | Quiz /viva-voice related to electrical machine |
|  | 2 | Introduction to energy efficient motors |  |  |
|  | 3 | Revision/Review/Test of old HSBTE Papers |  |  |
|  | 4 | Revision/Review/Test of old HSBTE Papers |  |  |