| Lesson Plan |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Name of Faculty |  |  | Sh. Satyender |  |  |
| Discipline |  |  | Electrical Engineering |  |  |
| Semester |  |  | 4th |  |  |
| Subject |  |  | Electrical measuring instruments and instrumentation |  |  |
| Lesson Plan Duration |  |  | 15 Week, Theory : 04, Practical : 02 |  |  |
| Week | Theory |  |  |  | Practical |
|  | Lecture Day | Topic (including Assignment/ Test) |  | Practical Day | Topic |
| 1st | Day 1 | 1: Introduction to Electrical Measuring Instruments: |  | Day 1 | Use of analog and digital Multi meter for measurement of voltage, current (A.C/D.C) and resistance |
|  | Day 2 | Concept of measurement and instruments |  |  |  |
|  | Day 3 | Measurements, sources of error. |  |  |  |
|  | Day 4 | Types of electrical measuring instruments – indicating |  |  |  |
| 2nd | Day 1 | integrating and recording type instruments |  | Day 1 | Measurement of pressure by using LVDT |
|  | Day 2 | Essentials of indicating instruments – deflecting, controlling and |  |  |  |
|  | Day 3 | damping torque and its types |  |  |  |
|  | Day 4 | Revision / assignment |  |  |  |
| 3rd | Day 1 | Class test |  | Day 1 | Revision and checking |
|  | Day 2 | 2: Ammeters and Voltmeters, difference |  |  |  |
|  | Day 3 | Construction and working principles of moving Iron-types |  |  |  |
|  | Day 4 | and moving coil instruments-types |  |  |  |
| 4th | Day 1 | Merits and demerits, sources of error |  | Day 1 | To measure the value of earth resistance using earth tester |
|  | Day 2 | and application of these instruments |  |  |  |
|  | Day 3 | Revision / assignment |  |  |  |
|  | Day 4 | Class test |  |  |  |
| 5th | Day 1 | 3:Wattmeters (Dynamometer Type) |  | Day 1 | To measure power, power factor in a single-phase circuit, using wattmeter and power factor meter |
|  | Day 2 | Construction, working principle, merits and demerits Digital wattmeter |  |  |  |
|  | Day 3 | Revision / assignment |  |  |  |
|  | Day 4 | Class test |  |  |  |
| 6th | Day 1 | 4: Energy meter Induction Type |  | Day 1 | Revision and checking |
|  | Day 2 | Construction, working principle, merits and demerits of single-phase |  |  |  |
|  | Day 3 | three-phase energy meters |  |  |  |
|  | Day 4 | Errors and their compensation |  |  |  |
| 7th | Day 1 | Simple numerical problems |  | Day 1 | Measurement of power and power factor of a three-phase balanced load by two wattmeter method |
|  | Day 2 | Construction and working principle of maximum demand indicators |  |  |  |
|  | Day 3 | Digital energy meter (diagram, construction and application) |  |  |  |
|  | Day 4 | Revision / assignment |  |  |  |
| 8th | Day 1 | 5: Miscellaneous Measuring Instruments |  | Day 1 | Measurement of voltage and frequency of a sinusoidal signal using CRO and draw wave shape of signal |
|  | Day 2 | Construction, working principle and application of Meggar, |  |  |  |
|  | Day 3 | Earth tester(analog and digital) |  |  |  |
|  | Day 4 | Multimeter, Frequency meter (dynamometer type) single phase power factor meter (Electrodynamometer type |  |  |  |
| 9th | Day 1 | Working principle of synchroscope |  | Day 1 | Revision and checking |

|  | Day 2 | phase sequence indicator |  |  |
| --- | --- | --- | --- | --- |
|  | Day 3 | tong tester (Clamp-on meter) |  |  |
|  | Day 4 | Instrument Transformers: Construction, working and applications CT, PT |  |  |
| 10th | Day 1 | Revision / assignment | Day 1 | Measurement of power in a 3 phase circuit using CT, PT and 3-phase wattmeter |
|  | Day 2 | Class test |  |  |
|  | Day 3 | 6: Electronic Instruments introduction |  |  |
|  | Day 4 | Cathode Ray Oscilloscope: Block diagram, working principle of CRO and |  |  |
| 11th | Day 1 | Its various controls. Applications of CRO. | Day 1 | Use of LCR meter for measuring inductance, capacitance and resistance |
|  | Day 2 | Digital multi-meter (only block diagram) and Applications |  |  |
|  | Day 3 | Revision / assignment |  |  |
|  | Day 4 | 7:Study of LCR meters |  |  |
| 12th | Day 1 | and their applications |  |  |
|  | Day 2 | Revision / assignment | Day 1 | Revision and checking |
|  | Day 3 | 8: Power Measurements in 3-phase circuits by |  |  |
|  | Day 4 | Two wattmeter method in balanced |  |  |
| 13th | Day 1 | unbalanced circuits and simple problems | Day 1 | To record all electrical quantities from the meters installed in the institution premises. |
|  | Day 2 | Three wattmeter method |  |  |
|  | Day 3 | Revision / assignment |  |  |
|  | Day 4 | 9:Transducers, Introduction, Types of Transducers (1 phase,3 phase) |  |  |
| 14th | Day 1 | Basic concept of pressure measurement | Day 1 | Measurement of temperature by using thermister/Thermal Imager |
|  | Day 2 | flow measurement |  |  |
|  | Day 3 | level measurement |  |  |
|  | Day 4 | displacement measurement using transducers |  |  |
| 15th | Day 1 | Revision / assignment | Day 1 | Revision and checking |
|  | Day 2 | 10: Measurement of Temperature Different types of thermometers, thermocouple |  |  |
|  | Day 3 | resistance temperature detector and their construction, principle and working |  |  |
|  | Day 4 | Thermal Imager Camera (Concept) |  |  |