| Lesson Plan |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Name of Faculty |  |  |  |  | Satyender |
| Discipline |  |  |  |  | Electrical Engineering |
| Semester |  |  |  |  | 5th |
| Subject |  |  |  |  | Electrical Power- I |
| Work load (Theory + Practical ) Per Week |  |  |  |  | (04+00) |
| Week |  | Theory |  |  |  |
|  |  | Day | Topics |  |  |
| 1st |  | 1 | Unit1 Power Generation |  |  |
|  |  | 2 | Main resources of energy, conventional and non-conventional |  |  |
|  |  | 3 | Different types of power stations, thermal power plant |  |  |
|  |  | 4 | Hydro Power plant Flow diagrams and operation |  |  |
| 2nd |  | 1 | Gas power plant Flow diagrams and operation |  |  |
|  |  | 2 | diesel power station Flow diagrams and operation |  |  |
|  |  | 3 | nuclear power Plant Flow diagrams and operation |  |  |
|  |  | 4 | comparison of the generating stations on the basis of running cost, site, starting, maintenance |  |  |
| 3rd |  | 1 | Revision/Assignment/ Class Test |  |  |
|  |  | 2 | Unit2:Economics of Generation |  |  |
|  |  | 3 | Fixed and running cost, load estimation, load curves |  |  |
|  |  | 4 | Demand factor, load factor, diversity factor |  |  |
| 4th |  | 1 | Power factor and their effect on cost of generation |  |  |
|  |  | 2 | Simple problems based on above relations |  |  |
|  |  | 3 | Revision/Assignment/ Class Test |  |  |
|  |  | 4 | Base load and peak load power stations |  |  |
| 5th |  | 1 | inter-connection of power stations and its advantages |  |  |
|  |  | 2 | Concept of regional and national grid |  |  |
|  |  | 3 | Revision/Assignment/ Class Test |  |  |
|  |  | 4 | Unit3 Transmission Systems |  |  |
| 6th |  | 1 | Layout of transmission system, selection of voltage for H.T and L.T lines |  |  |
|  |  | 2 | advantages of high voltage for Transmission of power in both AC and |  |  |
|  |  | 3 | Comparison of different systems: AC versus DC for power transmission, |  |  |
|  |  | 4 | material and sizes from standard tables |  |  |
| 7th |  | 1 | Constructional features of transmission lines |  |  |
|  |  | 2 | Types of supports |  |  |
|  |  | 3 | Types of insulators |  |  |
|  |  | 4 | Types of conductors, Selection of insulators |  |  |
| 8th |  | 1 | conductors, earth wire and their accessories |  |  |
|  |  | 2 | Transposition of conductors and string efficiency of suspension type insulators, Bundle Conductors |  |  |
|  |  | 3 | Mechanical features of line |  |  |
|  |  | 4 | Importance of sag, calculation of sag |  |  |
| 9th |  | 1 | effects of wind and ice related problems |  |  |
|  |  | 2 | Indian electricity rules pertaining to clearance |  |  |
|  |  | 3 | Electrical features of line: Calculation of resistance, inductance and capacitance |  |  |
|  |  | 4 | A.C. transmission line, voltage regulation, and concept of corona. Effects of corona and remedial measures |  |  |
| 10th |  | 1 | Transmission Losses |  |  |
|  |  | 2 | Revision/Assignment/ Class Test |  |  |
|  |  | 3 | Unit 4: Distribution System Lay out of HT and LT distribution system |  |  |
|  |  | 4 | constructional feature of distribution lines and their erection |  |  |
| 11th |  | 1 | LT feeders and service mains |  |  |
|  |  | 2 | Simple problems on AC radial distribution system |  |  |
|  |  | 3 | Determination of size of conductor |  |  |
|  |  | 4 | Preparation of estimates of HT and LT lines |  |  |
| 12th |  | 1 | Constructional features of LT (400 V), HT (II kV) underground cables |  |  |
|  |  | 2 | Advantages and disadvantages of underground system with respect to overhead system. |  |  |
|  |  | 3 | Calculation of losses in distribution system |  |  |
|  |  | 4 | Faults in underground cables-determine fault location by |  |  |
| 13th |  | 1 | Murray Loop Test, Varley Loop Test |  |  |
|  |  | 2 | Revision/Assignment/ Class Test |  |  |
|  |  | 3 | Revision/Problem solution/ Class Test |  |  |
|  |  | 4 | Unit 5: Substations: Brief idea about substations |  |  |
| 14th |  | 1 | Outdoor grid sub-station 220/132 KV, 66/33 KV outdoor Substations |  |  |
|  |  | 2 | Pole mounted substations and indoor substation |  |  |
|  |  | 3 | Layout of 33/11 distribution substation and various auxiliaries |  |  |
|  |  | 4 | Layout of kV/400V distribution substation and various auxiliaries |  |  |
| 15th |  | 1 | Revision/Assignment/ Class Test |  |  |
|  |  | 2 | Unit 6: power factor, reasons and disadvantages of low power factor |  |  |
|  |  | 3 | Methods for improvement of power factor using capacitor banks, VAR Static Compensator (SVC) |  |  |
|  |  | 4 | Revision/Review/Test of old HSBTE Papers |  |  |