| Lesson Plan |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Name of Faculty |  |  | Sh. Satyender |  |  |
| Discipline |  |  | Electrical Engineering |  |  |
| Semester |  |  | 6th |  |  |
| Subject |  |  | Electrical Power-II |  |  |
| Lesson Plan Duration |  |  | 15 week, Theory : 04,Practical: 02 |  |  |
| Week | Theory |  |  | Practical |  |
|  | Lecture Day | Topic (including Assignment/ Test) |  | Practical Day | Topic |
| 1st | Day 1 | Unit1: Faults; Introduction |  | Day1 | Testing of the dielectric strength of transformer oil and air |
|  | Day2 | Common type of faults in both overhead and underground systems |  |  |  |
|  | Day 3 | symmetrical/ Unsymmetrical faults |  |  |  |
|  | Day 4 | Single line to ground fault |  |  |  |
| 2nd | Day 1 | double line to ground fault, 3-phase to Ground fault open circuit |  | Day1 | Study of different types of circuit breakers and isolators |
|  | Day2 | Simple problems relating to fault finding. |  |  |  |
|  | Day 3 | Revision of important topics |  |  |  |
|  | Day 4 | Assignment / Class test |  |  |  |
| 3rd | Day 1 | 2 Switch Gears: Purpose of protective gear. Difference between switch, isolator and circuit breakers |  | Day1 | Revision/ file checking |
|  | Day2 | Function of isolator and circuit breaker. Making capacity and breaking |  |  |  |
|  | Day 3 | capacity of circuit breaker (only definition) |  |  |  |
|  | Day 4 | 2.2 Circuit breakers. Types of circuit breakers, bulk and minimum oil circuit breakers, |  |  |  |
| 4th | Day 1 | air SF6 circuit breakers |  | Day1 | Plot the time current characteristics of over current relay |
|  | Day2 | 2.3 Principles of Arc extinction blast circuit breakers in OCB and ACB, Constructional |  |  |  |
|  | Day 3 | features of OCB, ACB, and their working |  |  |  |
|  | Day 4 | Method of arc extinction |  |  |  |
| 5th | Day 1 | 2.4 Miniature circuit breakers MCB, MCCB |  | Day1 | Power measurement by using CTs and PTs |
|  | Day2 | ELCB, for distribution and transmission system (Descriptive) |  |  |  |
|  | Day 3 | Revision of important topics |  |  |  |
|  | Day 4 | Assignment / Class test |  |  |  |
| 6th | Day 1 | 3 Protection devices: Fuses; function of fuse. |  | Day1 | Revision/ file checking |
|  | Day2 | Types of fuses HV and LV fuses, |  |  |  |
|  | Day 3 | rewire-able, cartridge, HRC |  |  |  |
|  | Day 4 | 3.2 Earthing: purpose of earthing, method of earthing |  |  |  |
| 7th | Day 1 | Equipment earthing, Substation earthing, |  | Day1 | Earthing of different equipment/Main Distribution Board and Energy Meter Box |
|  | Day2 | System earthing as per Indian Electricity rules. Methods of reducing earth resistance. |  |  |  |
|  | Day 3 | 3.3 Relays: a) Introduction - types of relays |  |  |  |
|  | Day 4 | Electromagnetic and thermal relays, their |  |  |  |
| 8th | Day 1 | construction and working |  | Day1 | Perform the overload and short circuit test of MCB as per IS specifications |
|  | Day2 | b) Induction type over-current, earth fault relays |  |  |  |
|  | Day 3 | instantaneous over current |  |  |  |
|  | Day 4 | Directional over-current, differential relays, their functions |  | Day1 |  |
|  | Day 1 | d) Distance relays, their functions |  | Day1 | Revision/ file checking |

| 9th | Day2 | e) Idea of static relays and their applications |  |  |
| --- | --- | --- | --- | --- |
|  | Day 3 | Revision of important topics |  |  |
|  | Day 4 | Assignment / Class test |  |  |
| 10th | Day 1 | 4 Protection Scheme : introduction | Day1 | Plot the time-current characteristics of Kit-Kat fuse wire |
|  | Day2 | Relays for generator protection |  |  |
|  | Day 3 | 4.2 Relays for transformer protection including Buchholtz relay protection |  |  |
|  | Day 4 | 4.3 Protection of feeders and bus bars |  |  |
| 11th | Day 1 | Over current and earth fault protection. | Day1 | Taking reading of current on any LT line with clip on meter |
|  | Day2 | 4.4 Distance protection for transmission system |  |  |
|  | Day 3 | 4.5 Relays for motor protection |  |  |
|  | Day 4 | Relays for generator protection |  |  |
| 12th | Day 1 | Revision of important topics |  |  |
|  | Day2 | Assignment / Class test | Day1 | Revision/ file checking |
|  | Day 3 | 5 Over-voltage Protection : Protection of system against over voltages |  |  |
|  | Day 4 | causes of over voltages, utility of ground wire |  |  |
| 13th | Day 1 | 5.2 Lightning arrestors, rod gap | Day1 | Revision/ file checking |
|  | Day2 | Horn gap, metal oxide type. |  |  |
|  | Day 3 | 5.3 Transmission Line protection against over- voltages and lightning |  |  |
|  | Day 4 | substation protection against over-voltages and lightning |  |  |
| 14th | Day 1 | Revision of important topics | Day1 | Quiz /viva-voice related to electrical machine |
|  | Day2 | Assignment / Class test |  |  |
|  | Day 3 | 6:Concept of Tariffs |  |  |
|  | Day 4 | 6.2 Block rate, flat rate |  |  |
| 15th | Day 1 | maximum demand and two part tariffs | Day1 | Quiz /viva-voice related to electrical machine |
|  | Day2 | 6.3 Simple problems |  |  |
|  | Day 3 | Assignment / Class test |  |  |
|  | Day 4 | Problem solution/ test check |  |  |