Lesson Plan

| Name of Faculty |  |  | Sh. Satyender |
| --- | --- | --- | --- |
| Discipline |  |  | Electrical Engineering |
| Semester |  |  | 4th (Odd- semester) |
| Subject |  |  | Installation and maintenance of electrical equipment |
| Work load (Theory + Practical ) Per Week |  |  | (04+00) |
| Week | Day | Topics |  |
| 1st | 1 | Unit 1 : Tools, Accessories and instruments required for installation maintenance |  |
|  | 2 | accessories and repair work Knowledge of Indian Electricity rules, safety codes, |  |
|  | 3 | causes prevention of accidents, artificial respiration of an electrocuted person |  |
|  | 4 | workmen's safety devices |  |
| 2nd | 1 | Class test and revision |  |
|  | 2 | Unit 2 : Installation, 2.1 Installation of transmission and Distribution Lines: |  |
|  | 3 | Erection of steel structures, connecting jumpers, tee-off points, joints and dead ends |  |
|  | 4 | crossing of roads, streets, power/telecommunication lines and |  |
| 3rd | 1 | railway line crossings clearances; earthing of transmission lines and guarding, |  |
|  | 2 | spacing and configuration of conductors: |  |
|  | 3 | Arrangement for suspension and strain insulators, bird guards, anti-climbing devices and danger plates; |  |
|  | 4 | Sizes of conductor, earth wire and guy wires. |  |
| 4th | 1 | Laying of service lines, earthing, provision of service fuses, |  |
|  | 2 | installation of energy meters |  |
|  | 3 | 2.2 Laying of Underground Cables: |  |
|  | 4 | Inspection, storage, transportation and handling of cables |  |
| 5th | 1 | cable handling equipment, cable laying depths and clearances from other services |  |
|  | 2 | such as: water, sewerage, gas, heating and other mains, |  |
|  | 3 | and also a series of power and telecommunication cables and coordination with these services |  |
|  | 4 | excavation of trenches, direct cable laying, including laying of cable from the drum, |  |
| 6th | 1 | laying cable in the trench, taking all measurements and making drawings, |  |
|  | 2 | back filling of trenches with earth or sand, Laying protective layer of bricks etc. |  |
|  | 3 | Laying of cables into pipes and conduits and within buildings. |  |
|  | 4 | Class test/ revision |  |
| 7th | 1 | Problem solution |  |
|  | 2 | 2.3 Elementary idea regarding, inspection and handling of transformers; |  |
|  | 3 | pole mounted substations, plinth mounted substations, grid substation, bus bars |  |
|  | 4 | isolators, voltage and current transformers, lightning arrestors, |  |
| 8th | 1 | control and relay panels, HT/LT circuit breakers, LT switches, installation of |  |
|  | 2 | Power/distribution transformers, dehydration. Earthing system |  |
|  | 3 | fencing of yard, equipment foundations and trenches etc. |  |
|  | 4 | 2.4 Testing of various electrical equipment such as electrical motor, |  |
| 9th | 1 | transformers, cables, and generators, motor control centres, medium |  |
|  | 2 | voltage distribution panels, power control centres, motor control centres, |  |
|  | 3 | lighting arrangement, storage, pre-installation checks, connecting and |  |
|  | 4 | starting, pre-commissioning checks, drying out |  |
| 10th | 1 | Class test/ revision |  |
|  | 2 | Problem solution |  |
|  | 3 | 3 Maintenance |  |
|  | 4 | 3.1 Types of maintenance, maintenance schedules, procedures |  |

| 11th | 1 | 3.2 Maintenance of Transmission and Distribution System |
| --- | --- | --- |
|  | 2 | Authorized persons, danger notice, caution notice, permit to work, |
|  | 3 | arranging of shutdowns personally, temporary earthing, |
|  | 4 | cancellation of permit and restoration of supply |
| 12th | 1 | Patrolling and visual inspection of lines - points to be noted during patrolling from ground; |
|  | 2 | special inspections and night inspections; Location of faults using Meggar, effect of open or loose neutral connections, |
|  | 3 | provision of proper fuses on service lines and their effect on system, causes of dim and flickering lights |
|  | 4 | 3.3 Maintenance of Distribution Transformers |
| 13th | 1 | Transformer maintenance and points to be attended to in respect of various items of equipment |
|  | 2 | Checking of insulation resistance, transformer oil level and BDV test of oil, measurement of earth resistance |
|  | 3 | 3.4 Maintenance of Grid Substations, Checking and maintenance of busbars, |
|  | 4 | Isolating switches, HT/LT circuit breakers, LT switches. Power transformers |
| 14th | 1 | 3.5 Maintenance of Motors , Over hauling of motors, preventive maintenance, trouble shooting of electric motors |
|  | 2 | 3.6 Domestic Installation: Introduction |
|  | 3 | testing of electrical installation of a building, testing of insulation resistance to earth, |
|  | 4 | testing of insulation and resistance between conductors, |
| 15th | 1 | continuity or open circuit test |
|  | 2 | Class test/ revision |
|  | 3 | Viva-voice related to subject |
|  | 4 | Revision/Review/Test of old HSBTE Papers |