| Lesson Plan |  |  |  |
| --- | --- | --- | --- |
| Name of Faculty |  | Rajiv Kumar |  |
| Discipline |  | Electrical Engineering |  |
| Semester |  | 5th |  |
| Subject |  | Instrumentation |  |
| Week | Theory |  | Practical |

|  | Lecture Day | Topic (Including Assignment / Test) | Practical Day | Topic |
| --- | --- | --- | --- | --- |
| 1st | Day 1 | 1Measurements | Day 1 | To measure the level of a liquid using a transducer |
|  | Day 2 | Importance of measurement, Basic measuring systems |  |  |
|  | Day 3 | Advantages and limitations of each measuring systems |  |  |
|  | Day 4 | Generalized measurement system, signal conditioning |  |  |
| 2nd | Day 1 | Display devices | Day 1 | To measure temperature using a thermo-couple |
|  | Day 2 | Revision |  |  |
|  | Day 3 | 2 Transducers |  |  |
|  | Day 4 | Theory, construction and use of various transducers |  |  |
| 3rd | Day 1 | Resistance | Day 1 | Practice /Checking |
|  | Day 2 | Inductance |  |  |
|  | Day 3 | Capacitance |  |  |
|  | Day 4 | Electromagnetic |  |  |
| 4th | Day 1 | piezo electric type | Day 1 | Study and use of digital temperature controller |
|  | Day 2 | Revision |  |  |
|  | Day 3 | 3Measurement of Displacement and Strain |  |  |
|  | Day 4 | Displacement Measuring Devices: |  |  |
| 5th | Day 1 | wire wound potentiometer | Day 1 | Use of themistor in ON/OFF transducer |
|  | Day 2 | LVDT, strain gauges |  |  |
|  | Day 3 | and their different types such as inductance type, |  |  |
|  | Day 4 | resistive type |  |  |
| 6th | Day 1 | Wire and foil type etc. | Day 1 | Practice /Checking |
|  | Day 2 | Gauge factor, gauge materials |  |  |
|  | Day 3 | And their selections, sources of errors and its compensations. |  |  |
|  | Day 4 | Use of electrical strain gauges |  |  |
| 7th | Day 1 | Strain gauge bridges and amplifiers. | Day 1 | Study of variable capacitive transducer |
|  | Day 2 | Revision |  |  |
|  | Day 3 | 4Force and Torque Measurement: |  |  |
|  | Day 4 | Different types of force measuring devices and their principles, |  |  |
| 8th | Day 1 | Load measurements by using elastic Transducers and electrical strain gauges | Day 1 | Draw the characteristics of a potentiometer |
|  | Day 2 | Load cells |  |  |
|  | Day 3 | Proving rings |  |  |
|  | Day 4 | Measurements of torque by brake |  |  |
| 9th | Day 1 | Dynamometer | Day 1 | Practice /Checking |
|  | Day 2 | Electrical strain gauges, |  |  |
|  | Day 3 | Speed measurements; different methods, devices |  |  |
|  | Day 4 | Revision |  |  |
| 10th | Day 1 | 5Pressure Measurement | Day 1 | To measure linear displacement using LVDT |
|  | Day 2 | Bourdon pressure gauges |  |  |
|  | Day 3 | Electrical pressure pickups and their principle, |  |  |
|  | Day 4 | Construction and applications |  |  |
| 11th | Day 1 | Use of pressure cells. | Day 1 | To study the use of electrical strain gauge |
|  | Day 2 | Revision |  |  |
|  | Day 3 | 6Flow Measurement: |  |  |
|  | Day 4 | Basic principles of magnetic |  |  |
| 12th | Day 1 | Ultrasonic flow meters |  |  |
|  | Day 2 | Revision | Day 1 | Practice /Checking |
|  | Day 3 | 7Measurement of Temperature: |  |  |
|  | Day 4 | Bimetallic thermometer |  |  |
| 13th | Day 1 | Pressure thermometers | Day 1 | To study weighing machine using load cell |
|  | Day 2 | Thermoelectric thermometers, resistance thermometers, |  |  |
|  | Day 3 | Thermocouple, Thermisters |  |  |
|  | Day 4 | Pyrometer, errors in temperature measurements in rapidly moving fluids |  |  |
| 14th | Day 1 | Temperature recorders | Day 1 | To study pH meter |
|  | Day 2 | Revision |  |  |
|  | Day 3 | 8 Measurement of other non- electrical quantities such as humidity |  |  |
|  | Day 4 | pH level and |  |  |
| 15th | Day 1 | Vibrations | Day 1 | Practice /Checking |
|  | Day 2 | Revision of Hsbte old Paper |  |  |
|  | Day 3 | Revision of Hsbte old Paper |  |  |
|  | Day 4 | Revision of Hsbte old Paper |  |  |