# Lesson Plan

Name of the faculty	: AJAY

Discipline	: Mechanical Engineering

Semester	: 5th

Subject	:	Refrigeration and Air Conditioning Lesson Plan Duration:	15 weeks

Work Load	:	(L/P) (4 Periods/ 2 periods) /Week

|  | Theory |  | Practical |
| --- | --- | --- | --- |
| Wee k | Lectur e Day | Topics | Topics |
| 1st | 1st | Unit 1 Fundamentals of Refrigeration Introduction to refrigeration, and air conditioning | 1st Identify various tools of refrigeration kit and practice in cutting, bending, flaring, swaging and brazing of tubes (Cont.). |
|  | 2nd | Meaning of refrigerating effect, units of refrigeration, COP |  |
|  | 3rd | Methods of refrigeration (Cont.) |  |
|  | 4th | Methods of refrigeration (Cont.) |  |
| 2nd | 5th | Methods of refrigeration | 1st Identify various tools of refrigeration kit and practice in cutting, bending, flaring, swaging and brazing of tubes. |
|  | 6th | Introduction to air refrigerator working on reversed carnot cycle |  |
|  | 7th | Unit 2 Vapour Compression System Introduction |  |
|  | 8th | Principle, function, parts and necessity of vapour compression system |  |
| 3rd | 9th | T-  and p– H charts | 2nd Study of thermostatic switch, LP/HP cut out overload protector filters, strainers and filter driers (Cont.). |
|  | 10th | Dry, wet and superheated compression |  |
|  | 11th | Effect of sub cooling, super heating, |  |
|  | 12th | Mass flow rate, entropy, enthalpy, work done |  |
| 4th | 13th | Refrigerating effect and COP | 2nd Study of thermostatic switch, LP/HP cut out overload protector filters, strainers and filter driers. |
|  | 14th | Actual vapour compression system |  |
|  | 15th | Unit 3 Refrigerants Functions |  |

|  | 16th | Classification of refrigerants |  |
| --- | --- | --- | --- |
| 5th | 17th | Properties of R - 717, R – 22 | 3rd Identify various parts of a refrigerator and window air conditioner (Cont.). |
|  | 18th | R–134 (a) and CO2. |  |
|  | 19th | Properties of ideal refrigerant |  |
|  | 20th | SESSIONAL I |  |
| 6th | 21st | selection of refrigerant | 3rd Identify various parts of a refrigerator and window air conditioner. |
|  | 22nd | Unit 4 Vapour Absorption System Introduction |  |
|  | 23rd | Principle and working of simple absorption system |  |
|  | 24th | Domestic Electrolux refrigeration systems |  |
| 7th | 25th | Solar power refrigeration system | 4th To find COP of Refrigeration system. |
|  | 26th | advantages and disadvantages of solar power refrigeration system over vapour compression system |  |
|  | 27th | Unit 5 Refrigeration Equipment 5.1 Compressor - Function |  |
|  | 28th | Various types of compressors (Cont.) |  |
| 8th | 29th | Various types of compressors | 5th To detect trouble/faults in a refrigerator/window type air conditioner (Cont.). |
|  | 30th | 5.2 Condenser - Function |  |
|  | 31st | Various types of condensers (Cont.) |  |
|  | 32nd | Various types of condensers |  |
| 9th | 33rd | 5.3 Evaporator - Function | 5th To detect trouble/faults in a refrigerator/window type air conditioner. |
|  | 34th | Various types of evaporators (Cont.) |  |
|  | 35th | Various types of evaporators |  |
|  | 36th | 5.4 Expansion Valve - Function |  |
| 10th | 37th | Various types such as capillary tube, thermostatic expansion valve | 6th Charging of a refrigerator/window type air conditioner (Cont.). |
|  | 38th | Low side and high side float valves |  |
|  | 39th | SESSIONAL II |  |
|  | 40th | Application of various expansion valves |  |
| 11th | 41st | 5.5. Safety Devices-Thermostat, overload protector | 6th Charging of a refrigerator/window type air conditioner. |
|  | 42nd | LP, HP cut out switch |  |
|  | 43rd | Unit 6 Psychrometry Definition, importance |  |
|  | 44th | Specific humidity, relative humidity, degree of saturation |  |
| 12th | 45th | DBT, WBT, DPT | 7th Study of cut section of single |

|  | 46th | Sensible heat, latent heat | cylinder compressor |
| --- | --- | --- | --- |
|  | 47th | Total enthalpy of air. Psychrometry chart |  |
|  | 48th | Various processes of psychrometry (Cont.) |  |
| 13th | 49th | Various processes of psychrometry | 8th Visit to an ice plant, cold storage plant, central air conditioning plant(Cont.). |
|  | 50th | Unit 7 Air-Conditioner Study of window air- conditioning (Cont.) |  |
|  | 51st | Study of window air-conditioning |  |
|  | 52nd | Split type air conditioning (Cont.) |  |
| 14th | 53rd | Split type air conditioning | 8th Visit to an ice plant, cold storage plant, central air conditioning plant. |
|  | 54th | Concept of central air condition (Cont.) |  |
|  | 55th | Concept of central air condition |  |
|  | 56th | Automobile air-conditioning (Cont.) |  |
| 15th | 57th | Automobile air-conditioning | VIVA- VOCE |
|  | 58th | Revision of Syllabus |  |
|  | 59th | Revision of Syllabus |  |
|  | 60th | SESSIONAL III |  |